## 概览
指标 | 数值
['总样本数', '通过数量', '警告数量', '失败数量', '需复检数量', '通过率'] | [7, 0, 0, 7, 7, '0.0%']

## 样本详情
样本ID | 整体状态 | 需复检 | 复检原因 | pH_RANGE_CHECK_状态 | pH_RANGE_CHECK_违规数 | pH_TREND_CHECK_状态 | pH_TREND_CHECK_违规数 | pH_DRIFT_CHECK_状态 | pH_DRIFT_CHECK_违规数 | pH_SPIKE_CHECK_状态 | pH_SPIKE_CHECK_违规数 | pH_FLATLINE_CHECK_状态 | pH_FLATLINE_CHECK_违规数 | temperature_RANGE_CHECK_状态 | temperature_RANGE_CHECK_违规数 | temperature_TREND_CHECK_状态 | temperature_TREND_CHECK_违规数 | temperature_DRIFT_CHECK_状态 | temperature_DRIFT_CHECK_违规数 | temperature_SPIKE_CHECK_状态 | temperature_SPIKE_CHECK_违规数 | temperature_FLATLINE_CHECK_状态 | temperature_FLATLINE_CHECK_违规数 | dissolved_oxygen_RANGE_CHECK_状态 | dissolved_oxygen_RANGE_CHECK_违规数 | dissolved_oxygen_TREND_CHECK_状态 | dissolved_oxygen_TREND_CHECK_违规数 | dissolved_oxygen_DRIFT_CHECK_状态 | dissolved_oxygen_DRIFT_CHECK_违规数 | dissolved_oxygen_SPIKE_CHECK_状态 | dissolved_oxygen_SPIKE_CHECK_违规数 | dissolved_oxygen_FLATLINE_CHECK_状态 | dissolved_oxygen_FLATLINE_CHECK_违规数
SAMP-001 | FAIL | TRUE | 质控规则判定异常，建议复检 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 63 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 2 | FAIL | 6 | PASS | 0 | PASS | 0 | PASS | 0
SAMP-002 | FAIL | TRUE | 质控规则判定异常，建议复检 | PASS | 0 | PASS | 0 | PASS | 0 | FAIL | 1 | PASS | 0 | WARNING | 61 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 2 | FAIL | 3 | PASS | 0 | FAIL | 1 | PASS | 0
SAMP-003 | FAIL | TRUE | 质控规则判定异常，建议复检 | FAIL | 36 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | FAIL | 96 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 94 | FAIL | 1 | PASS | 0 | PASS | 0 | FAIL | 2
SAMP-004 | FAIL | TRUE | 质控规则判定异常，建议复检 | FAIL | 5 | FAIL | 10 | PASS | 0 | FAIL | 5 | PASS | 0 | WARNING | 60 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | FAIL | 1 | PASS | 0 | PASS | 0 | PASS | 0
SAMP-005 | FAIL | TRUE | 质控规则判定异常，建议复检 | FAIL | 97 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 61 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 1 | FAIL | 2 | PASS | 0 | PASS | 0 | PASS | 0
SAMP-006 | FAIL | TRUE | 质控规则判定异常，建议复检 | PASS | 0 | PASS | 0 | PASS | 0 | FAIL | 1 | PASS | 0 | WARNING | 63 | PASS | 0 | PASS | 0 | FAIL | 1 | PASS | 0 | WARNING | 1 | FAIL | 2 | PASS | 0 | PASS | 0 | PASS | 0
SAMP-007 | FAIL | TRUE | 质控规则判定异常，建议复检 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 64 | PASS | 0 | PASS | 0 | PASS | 0 | PASS | 0 | WARNING | 1 | FAIL | 4 | PASS | 0 | FAIL | 1 | PASS | 0

## 需复检样本
sample_id | reason | status
SAMP-001 | 质控规则判定异常，建议复检 | FAIL
SAMP-002 | 质控规则判定异常，建议复检 | FAIL
SAMP-003 | 质控规则判定异常，建议复检 | FAIL
SAMP-004 | 质控规则判定异常，建议复检 | FAIL
SAMP-005 | 质控规则判定异常，建议复检 | FAIL
SAMP-006 | 质控规则判定异常，建议复检 | FAIL
SAMP-007 | 质控规则判定异常，建议复检 | FAIL