## 逆变器效率排名
inverter_id | sample_count | raw_generation | theoretical_generation | measured_efficiency | adjusted_efficiency | temperature_correction_factor | performance_ratio | specific_yield | capacity_utilization | data_quality_score | rank | rank_reason
INV-001 | 43 | 2970.7 | 529.64 | 200 | 201.89 | 0.9906 | 0.4541 | 5.92 | 5.6089 | 0.9057 | 1
INV-004 | 43 | 2603.61 | 445.29 | 200 | 201.63 | 0.9919 | 0.4735 | 5.79 | 5.847 | 0.93 | 2
INV-003 | 49 | 3279.63 | 570.3 | 200 | 201.6 | 0.9921 | 0.4643 | 7.42 | 5.7507 | 0.99 | 3
INV-002 | 49 | 4245.48 | 746.55 | 200 | 201.49 | 0.9926 | 0.4582 | 7.1 | 5.6868 | 0.99 | 4
INV-005 | 46 | 3892.61 | 661.7 | 200 | 201.26 | 0.9937 | 0.4762 | 7 | 5.8828 | 0.96 | 5

## 逐行计算结果
inverter_id | timestamp | irradiance | temperature | generation | capacity | theoretical_generation | temperature_correction_factor | measured_efficiency
INV-001 | 2024-06-15 01:00 | 0 | 19.1 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 01:30 | 0 | 21.2 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 02:00 | 1.1 | 20 | 0.26 | 502 | 0.05 | 1.02 | 200
INV-001 | 2024-06-15 02:30 | 0 | 22.2 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 03:00 | 7.1 | 21.8 | 1.7 | 502 | 0.29 | 1.0128 | 200
INV-001 | 2024-06-15 03:30 | 0 | 20.6 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 04:00 | 0 | 25.9 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 04:30 | 0 | 26.2 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 05:00 | 0 | 19.6 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 05:30 | 0 | 19.3 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 06:00 | 0 | 23.9 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 06:30 | 190.6 | 26.2 | 43.65 | 502 | 7.77 | 0.9952 | 200
INV-001 | 2024-06-15 07:00 | 213.5 | 27.9 | 49.48 | 502 | 8.65 | 0.9884 | 200
INV-001 | 2024-06-15 07:30 | 515.5 | 25.5 | 122.71 | 502 | 21.08 | 0.998 | 200
INV-001 | 2024-06-15 08:00 | 523 | 25.3 | 117.01 | 502 | 21.41 | 0.9988 | 200
INV-001 | 2024-06-15 08:30 | 644.8 | 22.8 | 148.68 | 502 | 26.66 | 1.0088 | 200
INV-001 | 2024-06-15 09:00 | 704.9 | 24.8 | 157.82 | 502 | 28.91 | 1.0008 | 200
INV-001 | 2024-06-15 09:30 | 753.6 | 28.7 | 173.74 | 502 | 30.43 | 0.9852 | 200
INV-001 | 2024-06-15 11:00 | 953.6 | 24.6 | 225.94 | 502 | 39.14 | 1.0016 | 200
INV-001 | 2024-06-15 11:30 | 1053.1 | 22.5 | 248.79 | 502 | 43.59 | 1.01 | 200
INV-001 | 2024-06-15 12:00 | 897.8 | 30.7 | 198.8 | 502 | 35.95 | 0.9772 | 200
INV-001 | 2024-06-15 12:30 | 1030.7 | 26 | 238.66 | 502 | 42.07 | 0.996 | 200
INV-001 | 2024-06-15 13:00 | 896.9 | 27.3 | 204.97 | 502 | 36.42 | 0.9908 | 200
INV-001 | 2024-06-15 14:00 | 880.9 | 25.7 | 197.12 | 502 | 36 | 0.9972 | 200
INV-001 | 2024-06-15 14:30 | 802.9 | 29.5 | 184.3 | 502 | 32.31 | 0.982 | 200
INV-001 | 2024-06-15 15:00 | 742.4 | 30.5 | 162.76 | 502 | 29.75 | 0.978 | 200
INV-001 | 2024-06-15 15:30 | 653.4 | 29.4 | 145.41 | 502 | 26.31 | 0.9824 | 200
INV-001 | 2024-06-15 16:00 | 479.3 | 25.8 | 109.56 | 502 | 19.58 | 0.9968 | 200
INV-001 | 2024-06-15 16:30 | 420.2 | 29.3 | 93.71 | 502 | 16.92 | 0.9828 | 200
INV-001 | 2024-06-15 17:00 | 245.9 | 32 | 53.7 | 502 | 9.79 | 0.972 | 200
INV-001 | 2024-06-15 17:30 | 79.6 | 31.3 | 17.46 | 502 | 3.18 | 0.9748 | 200
INV-001 | 2024-06-15 18:00 | 97.3 | 30.8 | 21.54 | 502 | 3.89 | 0.9768 | 200
INV-001 | 2024-06-15 18:30 | 0 | 30.1 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 19:00 | 0 | 35.7 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 19:30 | 0 | 34.6 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 20:30 | 17.2 | 32.6 | 3.84 | 502 | 0.68 | 0.9696 | 200
INV-001 | 2024-06-15 21:00 | 71.7 | 36.3 | 15.01 | 502 | 2.81 | 0.9548 | 200
INV-001 | 2024-06-15 21:30 | 74 | 39.9 | 16.47 | 502 | 2.85 | 0.9404 | 200
INV-001 | 2024-06-15 22:00 | 0 | 31.7 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 22:30 | 0 | 35.1 | 0 | 502 | 0 | 1
INV-001 | 2024-06-15 23:00 | 60.9 | 33.2 | 13.48 | 502 | 2.41 | 0.9672 | 200
INV-001 | 2024-06-15 23:30 | 18.9 | 40.5 | 4.1 | 502 | 0.73 | 0.938 | 200
INV-001 | 2024-06-16 | 0 | 22.6 | 0 | 502 | 0 | 1
INV-002 | 2024-06-15 | 26.8 | 17.3 | 7.78 | 598 | 1.35 | 1.0308 | 200
INV-002 | 2024-06-15 00:30 | 0 | 19.1 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 01:00 | 0 | 22.3 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 01:30 | 26.3 | 25 | 7.69 | 598 | 1.28 | 1 | 200
INV-002 | 2024-06-15 02:00 | 0 | 20.6 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 02:30 | 59.5 | 25.5 | 16.24 | 598 | 2.9 | 0.998 | 200
INV-002 | 2024-06-15 03:00 | 30.9 | 25.5 | 8.61 | 598 | 1.51 | 0.998 | 200
INV-002 | 2024-06-15 03:30 | 42.4 | 22.7 | 11.6 | 598 | 2.09 | 1.0092 | 200
INV-002 | 2024-06-15 04:00 | 52.5 | 26.5 | 14.72 | 598 | 2.55 | 0.994 | 200
INV-002 | 2024-06-15 04:30 | 0 | 20.6 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 05:00 | 38.5 | 26.9 | 10.71 | 598 | 1.87 | 0.9924 | 200
INV-002 | 2024-06-15 05:30 | 47 | 20.8 | 13.33 | 598 | 2.33 | 1.0168 | 200
INV-002 | 2024-06-15 06:00 | 0 | 21.4 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 06:30 | 118.5 | 27.7 | 32.96 | 598 | 5.72 | 0.9892 | 200
INV-002 | 2024-06-15 07:00 | 395.5 | 24.7 | 107.04 | 598 | 19.33 | 1.0012 | 200
INV-002 | 2024-06-15 07:30 | 381 | 21.8 | 109.39 | 598 | 18.84 | 1.0128 | 200
INV-002 | 2024-06-15 08:00 | 502.1 | 24.6 | 139.5 | 598 | 24.55 | 1.0016 | 200
INV-002 | 2024-06-15 08:30 | 645.8 | 24 | 183.12 | 598 | 31.65 | 1.004 | 200
INV-002 | 2024-06-15 09:00 | 759.4 | 24.6 | 207.58 | 598 | 37.13 | 1.0016 | 200
INV-002 | 2024-06-15 09:30 | 767.7 | 28.1 | 211.25 | 598 | 37.01 | 0.9876 | 200
INV-002 | 2024-06-15 10:30 | 883.4 | 29.7 | 241.25 | 598 | 42.31 | 0.9812 | 200
INV-002 | 2024-06-15 11:00 | 1009.5 | 30.1 | 269.75 | 598 | 48.28 | 0.9796 | 200
INV-002 | 2024-06-15 11:30 | 1060.5 | 29.9 | 285.63 | 598 | 50.76 | 0.9804 | 200
INV-002 | 2024-06-15 12:00 | 1015.2 | 28.3 | 278.74 | 598 | 48.9 | 0.9868 | 200
INV-002 | 2024-06-15 12:30 | 1035 | 32.1 | 279.65 | 598 | 49.09 | 0.9716 | 200
INV-002 | 2024-06-15 13:00 | 1032.5 | 31.1 | 281.41 | 598 | 49.17 | 0.9756 | 200
INV-002 | 2024-06-15 13:30 | 932.7 | 25 | 251.59 | 598 | 45.53 | 1 | 200
INV-002 | 2024-06-15 14:00 | 874.3 | 26.2 | 241.77 | 598 | 42.48 | 0.9952 | 200
INV-002 | 2024-06-15 14:30 | 766.6 | 23.7 | 215.82 | 598 | 37.62 | 1.0052 | 200
INV-002 | 2024-06-15 15:00 | 686.4 | 29.6 | 183.99 | 598 | 32.89 | 0.9816 | 200
INV-002 | 2024-06-15 15:30 | 592 | 34.4 | 158.86 | 598 | 27.81 | 0.9624 | 200
INV-002 | 2024-06-15 16:00 | 527.5 | 26.2 | 152.95 | 598 | 25.63 | 0.9952 | 200
INV-002 | 2024-06-15 16:30 | 474.9 | 34.4 | 129.18 | 598 | 22.31 | 0.9624 | 200
INV-002 | 2024-06-15 17:00 | 259.6 | 32 | 71.64 | 598 | 12.32 | 0.972 | 200
INV-002 | 2024-06-15 17:30 | 99.1 | 29.6 | 26.15 | 598 | 4.75 | 0.9816 | 200
INV-002 | 2024-06-15 18:00 | 0 | 36.2 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 18:30 | 0 | 32.5 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 19:00 | 47.3 | 35.7 | 12.68 | 598 | 2.21 | 0.9572 | 200
INV-002 | 2024-06-15 19:30 | 82.6 | 28.2 | 23.5 | 598 | 3.98 | 0.9872 | 200
INV-002 | 2024-06-15 20:00 | 0 | 28.7 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 20:30 | 93.6 | 32.8 | 24.75 | 598 | 4.43 | 0.9688 | 200
INV-002 | 2024-06-15 21:00 | 0 | 32.8 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 21:30 | 0 | 38.1 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 22:00 | 0 | 32.4 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 22:30 | 117.4 | 35.3 | 31.87 | 598 | 5.5 | 0.9588 | 200
INV-002 | 2024-06-15 23:00 | 0 | 34.6 | 0 | 598 | 0 | 1
INV-002 | 2024-06-15 23:30 | 6.3 | 29 | 1.77 | 598 | 0.3 | 0.984 | 200
INV-002 | 2024-06-16 | 0 | 26.3 | 0 | 598 | 0 | 1
INV-002 | 2024-06-16 00:30 | 3.5 | 21.6 | 1 | 598 | 0.17 | 1.0136 | 200
INV-003 | 2024-06-15 | 14 | 18.1 | 2.99 | 442 | 0.52 | 1.0276 | 200
INV-003 | 2024-06-15 00:30 | 0 | 18.5 | 0 | 442 | 0 | 1
INV-003 | 2024-06-15 01:00 | 17.9 | 18.5 | 3.87 | 442 | 0.66 | 1.026 | 200
INV-003 | 2024-06-15 01:30 | 15.4 | 23.4 | 3.25 | 442 | 0.56 | 1.0064 | 200
INV-003 | 2024-06-15 02:30 | 30.5 | 21.5 | 6.44 | 442 | 1.12 | 1.014 | 200
INV-003 | 2024-06-15 03:00 | 63.9 | 20.1 | 13.68 | 442 | 2.35 | 1.0196 | 200
INV-003 | 2024-06-15 03:30 | 0 | 21.5 | 0 | 442 | 0 | 1
INV-003 | 2024-06-15 04:00 | 41.3 | 24.9 | 8.8 | 442 | 1.49 | 1.0004 | 200
INV-003 | 2024-06-15 04:30 | 1.1 | 24.9 | 0.22 | 442 | 0.04 | 1.0004 | 200
INV-003 | 2024-06-15 05:00 | 16.2 | 22.7 | 3.4 | 442 | 0.59 | 1.0092 | 200
INV-003 | 2024-06-15 05:30 | 29.8 | 21 | 6.54 | 442 | 1.09 | 1.016 | 200
INV-003 | 2024-06-15 06:00 | 0 | 20.1 | 0 | 442 | 0 | 1
INV-003 | 2024-06-15 06:30 | 170.1 | 25.9 | 35.65 | 442 | 6.12 | 0.9964 | 200
INV-003 | 2024-06-15 07:00 | 258.2 | 21.7 | 54.43 | 442 | 9.44 | 1.0132 | 200
INV-003 | 2024-06-15 07:30 | 348.8 | 27.6 | 71.5 | 442 | 12.45 | 0.9896 | 200
INV-003 | 2024-06-15 08:00 | 458.7 | 24 | 96.45 | 442 | 16.62 | 1.004 | 200
INV-003 | 2024-06-15 08:30 | 580.6 | 22.8 | 122.24 | 442 | 21.13 | 1.0088 | 200
INV-003 | 2024-06-15 09:00 | 719.4 | 24.1 | 148.56 | 442 | 26.05 | 1.0036 | 200
INV-003 | 2024-06-15 09:30 | 805 | 21.6 | 164.73 | 442 | 29.44 | 1.0136 | 200
INV-003 | 2024-06-15 10:00 | 830.1 | 25.6 | 173.09 | 442 | 29.88 | 0.9976 | 200
INV-003 | 2024-06-15 10:30 | 997.6 | 29.1 | 203.17 | 442 | 35.41 | 0.9836 | 200
INV-003 | 2024-06-15 11:00 | 965 | 23.9 | 201.3 | 442 | 34.97 | 1.0044 | 200
INV-003 | 2024-06-15 11:30 | 977 | 28.2 | 197.09 | 442 | 34.8 | 0.9872 | 200
INV-003 | 2024-06-15 12:00 | 1026 | 32.1 | 206.63 | 442 | 35.97 | 0.9716 | 200
INV-003 | 2024-06-15 12:30 | 1011.5 | 29.9 | 204.38 | 442 | 35.78 | 0.9804 | 200
INV-003 | 2024-06-15 13:00 | 977.1 | 28.2 | 200.81 | 442 | 34.8 | 0.9872 | 200
INV-003 | 2024-06-15 13:30 | 885.2 | 28.5 | 183.12 | 442 | 31.49 | 0.986 | 200
INV-003 | 2024-06-15 14:00 | 938.6 | 31.6 | 197.99 | 442 | 32.97 | 0.9736 | 200
INV-003 | 2024-06-15 14:30 | 755 | 31.7 | 153.21 | 442 | 26.51 | 0.9732 | 200
INV-003 | 2024-06-15 15:00 | 816.6 | 27 | 165.49 | 442 | 29.23 | 0.992 | 200
INV-003 | 2024-06-15 15:30 | 578.8 | 23.3 | 119.78 | 442 | 21.03 | 1.0068 | 200
INV-003 | 2024-06-15 16:00 | 462 | 30.5 | 94.53 | 442 | 16.3 | 0.978 | 200
INV-003 | 2024-06-15 16:30 | 476.5 | 33.2 | 94.65 | 442 | 16.63 | 0.9672 | 200
INV-003 | 2024-06-15 17:00 | 213.9 | 32.1 | 42.03 | 442 | 7.5 | 0.9716 | 200
INV-003 | 2024-06-15 17:30 | 222.1 | 34.5 | 43.97 | 442 | 7.71 | 0.962 | 200
INV-003 | 2024-06-15 18:00 | 0 | 35.3 | 0 | 442 | 0 | 1
INV-003 | 2024-06-15 18:30 | 61.9 | 26.8 | 12.61 | 442 | 2.22 | 0.9928 | 200
INV-003 | 2024-06-15 19:00 | 0.3 | 32 | 0.05 | 442 | 0.01 | 0.972 | 200
INV-003 | 2024-06-15 19:30 | 31.1 | 29 | 6.35 | 442 | 1.1 | 0.984 | 200
INV-003 | 2024-06-15 20:00 | 6 | 34 | 1.22 | 442 | 0.21 | 0.964 | 200
INV-003 | 2024-06-15 20:30 | 0 | 28.2 | 0 | 442 | 0 | 1
INV-003 | 2024-06-15 21:00 | 16.6 | 30.9 | 3.48 | 442 | 0.58 | 0.9764 | 200
INV-003 | 2024-06-15 21:30 | 5.8 | 37 | 1.15 | 442 | 0.2 | 0.952 | 200
INV-003 | 2024-06-15 22:00 | 103 | 39 | 20.1 | 442 | 3.51 | 0.944 | 200
INV-003 | 2024-06-15 22:30 | 48.6 | 36 | 9.91 | 442 | 1.68 | 0.956 | 200
INV-003 | 2024-06-15 23:00 | 0 | 36.4 | 0 | 442 | 0 | 1
INV-003 | 2024-06-15 23:30 | 0 | 31.1 | 0 | 442 | 0 | 1
INV-003 | 2024-06-16 | 0 | 22.2 | 0 | 442 | 0 | 1
INV-003 | 2024-06-16 00:30 | 3.7 | 25.2 | 0.75 | 442 | 0.13 | 0.9992 | 200
INV-004 | 2024-06-15 | 48.4 | 21.9 | 10.73 | 450 | 1.8 | 1.0124 | 200
INV-004 | 2024-06-15 00:30 | 0 | 20.7 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 01:00 | 0 | 18.8 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 01:30 | 45.7 | 14.4 | 10.6 | 450 | 1.75 | 1.0424 | 200
INV-004 | 2024-06-15 02:00 | 0 | 25.7 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 03:00 | 2.2 | 25.1 | 0.47 | 450 | 0.08 | 0.9996 | 200
INV-004 | 2024-06-15 04:00 | 0 | 18.6 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 04:30 | 0 | 16.4 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 05:00 | 0 | 19.6 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 05:30 | 0 | 23.8 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 06:00 | 0 | 20.6 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 06:30 | 91.8 | 24.1 | 19.81 | 450 | 3.38 | 1.0036 | 200
INV-004 | 2024-06-15 07:00 | 257.1 | 24.5 | 55.26 | 450 | 9.46 | 1.002 | 200
INV-004 | 2024-06-15 07:30 | 462.5 | 23.9 | 99.54 | 450 | 17.06 | 1.0044 | 200
INV-004 | 2024-06-15 08:00 | 543.3 | 26.4 | 114.66 | 450 | 19.85 | 0.9944 | 200
INV-004 | 2024-06-15 08:30 | 653.9 | 22.7 | 140.41 | 450 | 24.24 | 1.0092 | 200
INV-004 | 2024-06-15 09:30 | 804.5 | 26.2 | 168.17 | 450 | 29.41 | 0.9952 | 200
INV-004 | 2024-06-15 10:00 | 830.9 | 22.7 | 171.46 | 450 | 30.8 | 1.0092 | 200
INV-004 | 2024-06-15 10:30 | 904.3 | 25.7 | 201.16 | 450 | 33.13 | 0.9972 | 200
INV-004 | 2024-06-15 11:00 | 1044.1 | 28.5 | 229.18 | 450 | 37.82 | 0.986 | 200
INV-004 | 2024-06-15 12:00 | 1035.6 | 26.6 | 213.68 | 450 | 37.8 | 0.9936 | 200
INV-004 | 2024-06-15 12:30 | 1021.2 | 21.6 | 221.18 | 450 | 38.02 | 1.0136 | 200
INV-004 | 2024-06-15 14:00 | 865.6 | 30.1 | 184.2 | 450 | 31.15 | 0.9796 | 200
INV-004 | 2024-06-15 14:30 | 821.7 | 29.9 | 178.32 | 450 | 29.59 | 0.9804 | 200
INV-004 | 2024-06-15 15:00 | 769.2 | 29.1 | 158.77 | 450 | 27.79 | 0.9836 | 200
INV-004 | 2024-06-15 15:30 | 640.7 | 30.3 | 138.61 | 450 | 23.04 | 0.9788 | 200
INV-004 | 2024-06-15 16:00 | 549.4 | 32.3 | 114.03 | 450 | 19.59 | 0.9708 | 200
INV-004 | 2024-06-15 16:30 | 338.9 | 29.7 | 71.75 | 450 | 12.22 | 0.9812 | 200
INV-004 | 2024-06-15 17:00 | 172.3 | 34.4 | 36.93 | 450 | 6.09 | 0.9624 | 200
INV-004 | 2024-06-15 17:30 | 33.3 | 26.7 | 7.1 | 450 | 1.21 | 0.9932 | 200
INV-004 | 2024-06-15 18:00 | 0 | 32 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 18:30 | 0 | 35.4 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 19:00 | 0 | 36.4 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 19:30 | 0 | 32.7 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 20:00 | 26.6 | 34.6 | 5.52 | 450 | 0.94 | 0.9616 | 200
INV-004 | 2024-06-15 20:30 | 23.8 | 31.1 | 4.89 | 450 | 0.85 | 0.9756 | 200
INV-004 | 2024-06-15 21:00 | 37.1 | 33.9 | 7.78 | 450 | 1.31 | 0.9644 | 200
INV-004 | 2024-06-15 21:30 | 0 | 31.9 | 0 | 450 | 0 | 1
INV-004 | 2024-06-15 22:00 | 27.6 | 34.6 | 5.76 | 450 | 0.97 | 0.9616 | 200
INV-004 | 2024-06-15 22:30 | 110.4 | 40.1 | 21.48 | 450 | 3.81 | 0.9396 | 200
INV-004 | 2024-06-15 23:30 | 2.7 | 35.4 | 0.55 | 450 | 0.1 | 0.9584 | 200
INV-004 | 2024-06-16 | 0 | 17.7 | 0 | 450 | 0 | 1
INV-004 | 2024-06-16 00:30 | 54.5 | 25.4 | 11.63 | 450 | 2 | 0.9984 | 200
INV-005 | 2024-06-15 | 0 | 17.5 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 00:30 | 0 | 20.5 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 01:00 | 23.9 | 21.6 | 6.61 | 556 | 1.1 | 1.0136 | 200
INV-005 | 2024-06-15 01:30 | 0 | 20.1 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 02:00 | 0 | 22.4 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 03:00 | 20.7 | 27.5 | 5.38 | 556 | 0.93 | 0.99 | 200
INV-005 | 2024-06-15 03:30 | 0 | 16.9 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 04:00 | 32.7 | 22.3 | 8.87 | 556 | 1.5 | 1.0108 | 200
INV-005 | 2024-06-15 04:30 | 0 | 30.1 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 05:00 | 5.5 | 25.3 | 1.47 | 556 | 0.25 | 0.9988 | 200
INV-005 | 2024-06-15 05:30 | 11.2 | 21.1 | 3.06 | 556 | 0.52 | 1.0156 | 200
INV-005 | 2024-06-15 06:00 | 94.1 | 27.8 | 25.62 | 556 | 4.22 | 0.9888 | 200
INV-005 | 2024-06-15 06:30 | 105 | 21.1 | 28.38 | 556 | 4.84 | 1.0156 | 200
INV-005 | 2024-06-15 07:00 | 261.6 | 27.7 | 66.74 | 556 | 11.75 | 0.9892 | 200
INV-005 | 2024-06-15 07:30 | 459.2 | 24.2 | 121.88 | 556 | 20.91 | 1.0032 | 200
INV-005 | 2024-06-15 08:00 | 449.4 | 20 | 124.33 | 556 | 20.81 | 1.02 | 200
INV-005 | 2024-06-15 08:30 | 612.4 | 21.4 | 161.48 | 556 | 28.2 | 1.0144 | 200
INV-005 | 2024-06-15 09:00 | 690.3 | 30.6 | 179.15 | 556 | 30.63 | 0.9776 | 200
INV-005 | 2024-06-15 09:30 | 718.2 | 25.2 | 190.47 | 556 | 32.57 | 0.9992 | 200
INV-005 | 2024-06-15 10:00 | 731.2 | 26.1 | 193.39 | 556 | 33.04 | 0.9956 | 200
INV-005 | 2024-06-15 10:30 | 958.7 | 32.1 | 254.18 | 556 | 42.28 | 0.9716 | 200
INV-005 | 2024-06-15 11:00 | 952.5 | 23.6 | 268.83 | 556 | 43.47 | 1.0056 | 200
INV-005 | 2024-06-15 11:30 | 994.4 | 27.2 | 262.89 | 556 | 44.74 | 0.9912 | 200
INV-005 | 2024-06-15 12:00 | 1009.9 | 27.1 | 264.23 | 556 | 45.45 | 0.9916 | 200
INV-005 | 2024-06-15 12:30 | 964.1 | 27.7 | 251.74 | 556 | 43.29 | 0.9892 | 200
INV-005 | 2024-06-15 13:00 | 930.3 | 28.4 | 243.6 | 556 | 41.65 | 0.9864 | 200
INV-005 | 2024-06-15 13:30 | 999.1 | 20.5 | 277.38 | 556 | 46.16 | 1.018 | 200
INV-005 | 2024-06-15 14:30 | 774.8 | 24.8 | 203.69 | 556 | 35.2 | 1.0008 | 200
INV-005 | 2024-06-15 15:00 | 651.6 | 34.6 | 170.32 | 556 | 28.44 | 0.9616 | 200
INV-005 | 2024-06-15 15:30 | 672.3 | 31.9 | 170.57 | 556 | 29.67 | 0.9724 | 200
INV-005 | 2024-06-15 16:00 | 473.8 | 31.5 | 120.16 | 556 | 20.95 | 0.974 | 200
INV-005 | 2024-06-15 16:30 | 418.3 | 29.6 | 108.77 | 556 | 18.64 | 0.9816 | 200
INV-005 | 2024-06-15 17:00 | 294.4 | 32 | 75.82 | 556 | 12.99 | 0.972 | 200
INV-005 | 2024-06-15 17:30 | 188.5 | 27.7 | 50.38 | 556 | 8.46 | 0.9892 | 200
INV-005 | 2024-06-15 18:00 | 29.7 | 30.3 | 7.8 | 556 | 1.32 | 0.9788 | 200
INV-005 | 2024-06-15 18:30 | 0 | 34.3 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 19:00 | 0 | 35 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 19:30 | 0 | 27.5 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 20:00 | 0 | 37.8 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 20:30 | 84.8 | 33.4 | 21.83 | 556 | 3.72 | 0.9664 | 200
INV-005 | 2024-06-15 21:30 | 55.2 | 33.8 | 14.25 | 556 | 2.42 | 0.9648 | 200
INV-005 | 2024-06-15 22:30 | 0 | 30 | 0 | 556 | 0 | 1
INV-005 | 2024-06-15 23:00 | 8.5 | 33.8 | 2.2 | 556 | 0.37 | 0.9648 | 200
INV-005 | 2024-06-15 23:30 | 17.4 | 33.1 | 4.42 | 556 | 0.76 | 0.9676 | 200
INV-005 | 2024-06-16 | 9.8 | 17.1 | 2.72 | 556 | 0.46 | 1.0316 | 200
INV-005 | 2024-06-16 00:30 | 0 | 23.4 | 0 | 556 | 0 | 1

## 质量问题记录
行索引 | 逆变器编号 | 时间戳 | 字段 | 问题类型 | 描述 | 原始值 | 处理动作
250 | INV-001 | 2024-06-15 00:00:00 | timestamp | DUPLICATE | 逆变器 INV-001 在 2024-06-15 00:00:00 有重复记录 |  | DEDUPLICATED
251 | INV-001 | 2024-06-15 00:30:00 | timestamp | DUPLICATE | 逆变器 INV-001 在 2024-06-15 00:30:00 有重复记录 |  | DEDUPLICATED
252 | INV-001 | 2024-06-15 01:00:00 | timestamp | DUPLICATE | 逆变器 INV-001 在 2024-06-15 01:00:00 有重复记录 |  | DEDUPLICATED
20 | INV-001 | 2024-06-15 10:00:00 | irradiance | MISSING_VALUE | irradiance 字段缺失 |  | EXCLUDED
49 | INV-001 | 2024-06-16 00:30:00 | irradiance | MISSING_VALUE | irradiance 字段缺失 |  | EXCLUDED
155 | INV-004 | 2024-06-15 02:30:00 | irradiance | MISSING_VALUE | irradiance 字段缺失 |  | EXCLUDED
176 | INV-004 | 2024-06-15 13:00:00 | irradiance | MISSING_VALUE | irradiance 字段缺失 |  | EXCLUDED
244 | INV-005 | 2024-06-15 22:00:00 | irradiance | MISSING_VALUE | irradiance 字段缺失 |  | EXCLUDED
1 | INV-001 | 2024-06-15 00:30:00 | irradiance | RANGE_VIOLATION | irradiance = 5000.0 高于最大值 1500.0 | 5000 | EXCLUDED
70 | INV-002 | 2024-06-15 10:00:00 | irradiance | RANGE_VIOLATION | irradiance = 5000.0 高于最大值 1500.0 | 5000 | EXCLUDED
168 | INV-004 | 2024-06-15 09:00:00 | irradiance | RANGE_VIOLATION | irradiance = 5000.0 高于最大值 1500.0 | 5000 | EXCLUDED
196 | INV-004 | 2024-06-15 23:00:00 | irradiance | RANGE_VIOLATION | irradiance = 5000.0 高于最大值 1500.0 | 5000 | EXCLUDED
205 | INV-005 | 2024-06-15 02:30:00 | irradiance | RANGE_VIOLATION | irradiance = 5000.0 高于最大值 1500.0 | 5000 | EXCLUDED
27 | INV-001 | 2024-06-15 13:30:00 | temperature | RANGE_VIOLATION | temperature = 150.0 高于最大值 85.0 | 150 | EXCLUDED
104 | INV-003 | 2024-06-15 02:00:00 | temperature | RANGE_VIOLATION | temperature = 150.0 高于最大值 85.0 | 150 | EXCLUDED
157 | INV-004 | 2024-06-15 03:30:00 | temperature | RANGE_VIOLATION | temperature = 150.0 高于最大值 85.0 | 150 | EXCLUDED
228 | INV-005 | 2024-06-15 14:00:00 | temperature | RANGE_VIOLATION | temperature = 150.0 高于最大值 85.0 | 150 | EXCLUDED
242 | INV-005 | 2024-06-15 21:00:00 | temperature | RANGE_VIOLATION | temperature = 150.0 高于最大值 85.0 | 150 | EXCLUDED
0 | INV-001 | 2024-06-15 00:00:00 | generation | RANGE_VIOLATION | generation = -100.0 低于最小值 0.0 | -100 | EXCLUDED
21 | INV-001 | 2024-06-15 10:30:00 | generation | RANGE_VIOLATION | generation = -100.0 低于最小值 0.0 | -100 | EXCLUDED
40 | INV-001 | 2024-06-15 20:00:00 | generation | RANGE_VIOLATION | generation = -100.0 低于最小值 0.0 | -100 | EXCLUDED
173 | INV-004 | 2024-06-15 11:30:00 | generation | RANGE_VIOLATION | generation = -100.0 低于最小值 0.0 | -100 | EXCLUDED
177 | INV-004 | 2024-06-15 13:30:00 | generation | RANGE_VIOLATION | generation = -100.0 低于最小值 0.0 | -100 | EXCLUDED

## 总体汇总
指标 | 值
逆变器总数 | 5
有效排名数 | 5
有效样本数 | 230
平均实测效率 (%) | 200
平均调整后效率 (%) | 201.57
中位调整后效率 (%) | 201.6
效率标准差 (%) | 0.23
最高效率 (%) | 201.89
最低效率 (%) | 201.26
平均 PR | 0.4653
原始数据行数 | 253
清洗后行数 | 230
排除行数 | 23
排除率 (%) | 9.09

## 计算参数
参数名 | 值
nominal_inverter_efficiency | 0.98
temperature_coefficient | -0.004
reference_temperature_celsius | 25.0
stc_irradiance_wm2 | 1000.0
estimated_sampling_interval_hours | 0.0833
dc_ac_ratio_assumed | 1.25
calculation_timestamp | 2026-05-09T17:44:40.195709
加载警告 | 成功加载 253 行数据，6 列